Official Site Metadata Information

Lockheed Martin Ground System (LMG6)

Indiana University Perdue University Indianapolis (IUPUI) University Courtyard

Indianapolis, IN

Prepared by

Sterling Field Support Center

Created June 13, 2014

U.S. DEPARTMENT OF COMMERCE

National Oceanic and Atmospheric Administration

National Weather Service/Office of Operational Systems

Field Systems Operations Center/Observing Systems Branch

SITE SPECIFIC DATA FOR: IUPUI University Courtyard Indianapolis, IN

Date(s) Recorded: 06/09/14

Survey Team: D. Brewer, D. Fischer

| Station Name | IUPUI University Courtyard |
| --- | --- |
| Station Latitude (dd:mm:ss.sssss) | 39:46:25.095 N |
| Station Longitude (ddd:mm:ss.sssss) | 86:10:27.252 W |
| Station Elevation (MSL) | 215.20 m |
| WMO No | NA |
| WMO Region | NA |
| Station ID | NA |
| Time Zone | Eastern |
| WBAN | NA |
| WSFO ID | NA |
| Surface Observation Equipment Type | Fluke 971 (Temp and RH), Kestrel 3500 (Wind Speed), Paroscientific PDB (Pressure) |

| Resident Site Specific Data: Position information was determined using LMG-6 GPS Data Averaged over 2.5 hours |  |
| --- | --- |
| Site Commentary |  |
| RSOIS Latitude (dd:mm:ss.sssss) | 39:46:25.095 N |
| RSOIS Longitude (ddd:mm:ss.sssss) | 86:10:27.252 W |
| RSOIS Elevation (MSL) | 215.20 m |
| Surface Observation Equipment Type | Fluke 971, Kestrel 3500, Paroscientific PDB |
| Distance from Release Point (m) | <1m |
| Surface Observation Equipment Bearing (Deg) | NA |
| Temperature Sensor |  |
| Elevation (AGL) | Handheld |
| Orientation (Bearing) | NA |
| Manufacturer | Fluke |
| Model | 971 |
| Type | Thermistor |
| Calibration Date |  |
| Relative Humidity Sensor |  |
| Elevation (AGL) | Handheld |
| Orientation (Bearing) | NA |
| Manufacturer | Fluke |
| Model | 971 |
| Type | Capacitive Thin Film |
| Calibration Date |  |
| Wind Sensor |  |
| Elevation (AGL) | Handheld |
| Orientation (Bearing) | NA |
| Manufacturer | Kestrel |
| Model | 3500 |
| Type | Handheld Propeller |
| Calibration Date |  |
| Barometer |  |
| Elevation (MSL) | 215.20 m |
| Elevation (AGL) | <0.5 m |
| Orientation (Bearing) | N/A |
| Manufacturer | Paroscientific Inc. |
| Model | 760-16B |
| Type | Portable Pressure Standard |
| Calibration Date | 9/4/13 |

| Resident Site Specific Data: LMG6 Receiver and Antenna’s Position information was determined using a Trimble GPS receiver model 5700. Estimated position error less than |  |
| --- | --- |
| Site Commentary |  |
| Base Pressure (hPa) |  |
| Release Point Latitude (dd:mm:ss.sssss) | 39:46:25.095 N |
| Release Point Longitude (ddd:mm:ss.sssss) | 86:10:27.252 W |
| Release Point Elevation (MSL) | 215.20 m |
| Release Point Pressure Correction (hPa) | None |
| Basestation GPS Elevation (WGS84) | NA |
| Basestation GPS Elevation (MSL) | NA |
| Basestation GPS Latitude (N+/S- ddmmss.fffff) | NA |
| Basestation GPS Longitude (E+/W- dddmmss.fffff) | NA |
| LMG6 Elevation (MSL) | 215.20 m |
| LMG6 Latitude (N+/S- ddd:mm:ss.sssss) | 39:46:25.095 N |
| LMG6 Longitude (E+/W- ddd:mm:ss.sssss) | 86:10:27.252 W |
| Radiosonde Type | LMS6 |
| Ground Receiving System | LMG6 |
| Ground Receiving System Serial Number | 134601 |
| Radiosonde Tracking Method | GPS |
| Barometer Height (MSL) |  |
| Balloon Shelter Type | 10’ U-Haul Truck |
| Balloon Gas | Helium |
| Operating Frequencies (MHz) | 403 MHz |
| Rooftop Release | No |
| WMO Header (FZL) | NA |
| WMO Header (MAN) | NA |
| WMO Header (SGL) | NA |
| WMO Header (ABV) | NA |

| Win9000 Computer Site Specific Data |  |
| --- | --- |
| IP Address | NA |
| Computer Name | NA |
| Default Gateway | NA |
| Subnet Mask | NA |
| Preferred DNS Server | NA |
| Alternate DNS Server | NA |

Figure 1 Looking North from release area

Figure 2 Looking East from release area

Figure 3 Looking South from release area

Figure 4 Panoramic shot from North to South (Left to Right) from release area

Figure 5 Looking West from release area

Figure 6 Panoramic shot from South to North (Left to Right) from release area